## 导出摘要
此文稿由 Numbers 表格导出。所有表格均已转换为 Excel 工作表。每张 Numbers 工作表上的所有其他对象都已放置在单独的工作表中。请注意其中的公式计算可能与 Excel 不同。
Numbers 工作表名称 | Numbers 表格名称 | Excel 工作表名称
工作表 1
| 表格 1 | 工作表 1
Products and Prices
| 表格 1 | Products and Prices

## 工作表 1
表格 1

## Products and Prices
|  | Help: 如何自助产品选型 | Help: 如何查询产品详情 | Help: 如何自助生成参考报价 | Help: 一款或多款产品查询技巧 | Help: Inventory Classification “有”与“无”代表是否有现货库存 |  | Help: MOQ 是最小订货数量。简仪通常不对MOQ 产品备货，详情请联系简仪。 |  |  | Help: Lead Time 简仪接到订单到出货的时间。1个月表示简仪比较确信能在库存耗尽之后很快填补；3个月是大部分产品的标准货期；9个月表示有比较大不确定因素。
Product, Specs, Manual | Unit Price (Pre-Tax) | Description | Cable | Terminal Block | Category | PN | Update Date | Notes | Quantity | Discount | SubTotal (Pre-Tax) | SubTotal (With Tax) | Inventory classification | Lead Time (month)
GPS-1101s | 5250 | OCXO, GPS Synchronization Module, this module is for accurate data timestamping, system clock setting, gating data acquisition based on the arrival of the PPS. |  |  | GPS | GPS0000001-01 | 2022-02-19 |  | 1 | 0% | 5250 | 5932.5 | 有 | 9
ACL-IEEE488-MD1-A | 1135 | 25-pin micro-D to GPIB cable, 1 meter length |  |  | Controller Accessory | JA3001085-02 | 2024-10-09 |  | 1 | 0% | 1135 | 1282.55 | 有 | 3
ACL-PCIEX8-2 | 3274.34 | 2M Cable Kit for PCIe-PXIe system expansion |  |  | PXI/PXIe bus expansion | JA3001544-01 | 2024-07-19 |  | 1 | 0% | 3274.34 | 3700.0042 | MOQ | 9
ACL-PCIEX8-5 | 4568.14 | 5M Cable Kit for PCIe-PXIe system expansion |  |  | PXI/PXIe bus expansion | JA3001544-02 | 2024-07-19 |  | 1 | 0% | 4568.14 | 5161.9982 | MOQ | 9
ACL-eSSI-2 | 128.9474 | PCIe SSI Bus Cable for 2 Devices |  |  | Digitizer Accessory | JA3010195-01 | 2022-02-19 |  | 1 | 0% | 128.9474 | 145.7105 | 有 | 3
ACL-eSSI-3 | 155.5556 | PCIe SSI Bus Cable for 3 Devices |  |  | Digitizer Accessory | JA3010196-01 | 2022-02-19 |  | 1 | 0% | 155.5556 | 175.7778 | 有 | 3
ACL-eSSI-4 | 218.75 | PCIe SSI Bus Cable for 4 Devices |  |  | Digitizer Accessory | JA3010197-01 | 2022-02-19 |  | 1 | 0% | 218.75 | 247.1875 | MOQ | 3
PXIe-9604 | 83888 | 2-CH 14-Bit 250 MS/s High-Speed PXIe Digitizer and 2-CH, 16-bit 1GS/s High-Speed PXIe Arbitrary Waveform Generator, Bandwidth 0.5MHz ~ 135MHz |  |  | PXIe Transceiver | JA9604000-01 | 2023-04-07 | standard SMB optional | 1 | 0% | 83888 | 94793.44 | 有 | 3
PXIe-9702 | 36805.44 | 2-CH, ±5V 16-bit 250 MS/s High-Speed PXIe Arbitrary Waveform Generator |  |  | PXIe AWG | JA9702000-01 | 2023-12-22 | standard SMB optional | 1 | 0% | 36805.44 | 41590.1472 | MOQ | 9
PXIe-9802 | 29699 | 2-CH 14-Bit 250 MS/s High-Speed PXIe Digitizer ,Bandwidth 0.5MHz ~ 135MHz |  |  | PXIe Digitizers | JA9802000-01 | 2022-09-02 | standard SMB optional | 1 | 0% | 29699 | 33559.87 | 有 | 3
PCIe-9802DC | 56448 | 2-CH 14-Bit 250 MS/s High-Speed PCIe Digitizer ,Bandwidth : 0 ~ 135MHz |  |  | PCIe Digitizers | JA9802000-02 | 2024-08-19 | standard SMA optional | 1 | 0% | 56448 | 63786.24 | 有 | 3
JXI-DSP | 7136.64 | SeesharpTools JXI DSPl with Mathematics Toolkit |  |  | Software | JX1002001-01 | 2022-02-19 |  | 1 | 0% | 7136.64 | 8064.4032 | 无 | 3
USB-JXC61902 | 10858.5806 | C# Education Kit by USB-61902 |  |  | USB DAQ | JX6190201-01 | 2022-02-19 |  | 1 | 0% | 10858.5806 | 12270.1961 | MOQ | 9
TXI-2801 | 3540.1773 | TXI 1 slot chassis |  |  | TXI Chassis | JY2002801-01 | 2022-02-19 |  | 1 | 0% | 3540.1773 | 4000.4003 | 有 | 9
PXIe-5510 | 14261.0619 | 32-ch AI (18-Bit, 2 MS/s), 4-ch AO (16-Bit, 2.86MS/s), 48DIO PXIe Multifunction I/O Card | ACL-2006868-1 | TB-68 | PXIe DAQ | JY2005510-01 | 2023-03-24 |  | 1 | 0% | 14261.0619 | 16115 | 有 | 3
ACL-2006868-2 | 850 | 2M 68pin VHDCI68M-SCSI68M cable |  |  | DAQ Accessories | JY2006868-02 | 2022-02-19 |  | 1 | 0% | 850 | 960.5 | 有 | 3
TB-68CJ | 2263.6364 | 68-Pin SCSI Shielded I/O Connector Block with cold junction sensor |  |  | DAQ Accessories | JY2010068-01 | 2022-02-19 |  | 1 | 0% | 2263.6364 | 2557.9091 | 无 | 3
TB-68CI | 2671.6667 | 68-Pin SCSI Shielded I/O Connector Block with 8ch current converter |  |  | DAQ Accessories | JY2010068-02 | 2022-02-19 |  | 1 | 0% | 2671.6667 | 3018.9833 | 无 | 3
PXIe-6301 | 11902.7027 | 32-ch 24-bit PXIe Temperature input card for RTD | ACL-1016868-1 | TB-68 | PXIe DAQ | JY2016301-01 | 2024-05-29 |  | 1 | 0% | 11902.7027 | 13450.0541 | 有 | 3
PXIe-6302 | 8808 | 32-ch 24-bit PXIe Temperature input card for thermocouple | ACL-2026868-1 | TB-68CJ | PXIe DAQ | JY2016302-01 | 2022-04-01 |  | 1 | 0% | 8808 | 9953.04 | 无 | 3
SC-RTD-8 | 2260.8 | Terminal Block for 8 ch RTD sensor |  |  | DAQ Accessories | WP1000000-08 | 2022-02-19 |  | 1 | 0% | 2260.8 | 2554.704 | 有 | 3
SC-CTV-8 | 1149.7043 | Terminal Block for 8 ch 4-20 mA current to voltage converter (Diff. output) |  |  | DAQ Accessories | WP1000001-08 | 2022-02-19 |  | 1 | 0% | 1149.7043 | 1299.1659 | 有 | 3
SC-CTV-8SE | 1200.64 | Terminal Block for 8 ch 4-20 mA current to voltage converter (RSE output) |  |  | DAQ Accessories | WP1000002-08 | 2022-02-19 |  | 1 | 0% | 1200.64 | 1356.7232 | 有 | 3
TB-68CI-16 | 3466.6667 | 68-Pin SCSI Shielded I/O Connector Block with 16ch current converter |  |  | DAQ Accessories | JY2010068-03 | 2022-02-19 |  | 1 | 0% | 3466.6667 | 3917.3333 | 有 | 3
ACL-2006868-1 | 708.3333 | 1M 68pin VHDCI68M-SCSI68M cable |  |  | DAQ Accessories | JY2006868-01 | 2022-02-19 |  | 1 | 0% | 708.3333 | 800.4167 | 有 | 3
PXIe-63977w | 39970 | 3U PXIe Intel Core i5-7440EQ 2.9GHz System Controller with 8GB memory, 240GB SSD, Windows 10 Enterprise LTSC 64-bit |  |  | PXIe Controllers | JY9138008-10 | 2024-10-09 |  | 1 | 0% | 39970 | 45166.1 | 有 | 9
PXIe-63937w | 27536.6667 | 3U PXIe Intel Core i3-7100E 2.9GHz System Controller with 4GB memory, 500GB HDD, Windows 10 |  |  | PXIe Controllers | JY9138008-20 | 2022-02-19 |  | 1 | 0% | 27536.6667 | 31116.4333 | 无 | 9
PCIe-5510 | 12562.753 | 32-ch AI (18-Bit, 2 MS/s), 4-ch AO (16-Bit, 2.86MS/s), 48DIO PCIe Multifunction I/O Card | ACL-2006868-1 | TB-68 | PCIe DAQ | JY2105510-01 | 2023-03-24 |  | 1 | 0% | 12562.753 | 14195.9109 | 有 | 3
PXIe-5511 | 12995.9677 | 32-ch AI (18-Bit, 1.25 MS/s), 4-ch AO (16-Bit, 2.86 MS/s), 48DIO PXIe Multifunction I/O Card | ACL-2006868-1 | TB-68 | PXIe DAQ | JY2005511-01 | 2023-03-24 |  | 1 | 0% | 12995.9677 | 14685.4435 | 有 | 3
PXIe-5515 | 12003.876 | 16-ch AI (18-Bit, 2 MS/s), 2-ch AO (16-Bit, 2.86MS/s), 24DIO PXIe Multifunction I/O Card | ACL-2006868-1 | TB-68 | PXIe DAQ | JY2005515-01 | 2022-04-01 |  | 1 | 0% | 12003.876 | 13564.3798 | 有 | 3
PXIe-5516 | 9990.3226 | 16-ch AI (18-Bit, 1.25 MS/s), 2-ch AO (16-Bit, 2.86 MS/s), 24DIO PXIe Multifunction I/O Card | ACL-2006868-1 | TB-68 | PXIe DAQ | JY2005516-01 | 2022-04-01 |  | 1 | 0% | 9990.3226 | 11289.0645 | 有 | 3
PCIe-5511 | 11082.1429 | 32-ch AI (18-Bit, 1.25 MS/s), 4-ch AO (16-Bit, 2.86 MS/s), 48DIO PCIe Multifunction I/O Card | ACL-2006868-1 | TB-68 | PCIe DAQ | JY2105511-01 | 2023-03-24 |  | 1 | 0% | 11082.1429 | 12522.8214 | 无 | 3
PCIe-5515 | 9819.1126 | 16-ch AI (18-Bit, 2 MS/s), 2-ch AO (16-Bit, 2.86MS/s), 24DIO PCIe Multifunction I/O Card | ACL-2006868-1 | TB-68 | PCIe DAQ | JY2105515-01 | 2022-04-01 |  | 1 | 0% | 9819.1126 | 11095.5973 | 无 | 3
PCIe-5516 | 8315.0289 | 16-ch AI (18-Bit, 1.25 MS/s), 2-ch AO (16-Bit, 2.86 MS/s), 24DIO PCIe Multifunction I/O Card | ACL-2006868-1 | TB-68 | PCIe DAQ | JY2105516-01 | 2022-04-01 |  | 1 | 0% | 8315.0289 | 9395.9827 | 有 | 3
PCIe-6301 | 10713.5135 | 32-ch 24-bit PCIe Temperature input card for RTD | ACL-1016868-1 | TB-68 | PCIe DAQ | JY2116301-01 | 2024-05-29 |  | 1 | 0% | 10713.5135 | 12106.2703 | 有 | 3
PCIe-6302 | 7928 | 32-ch 24-bit PCIe Temperature input card for thermocouple | ACL-2026868-1 | TB-68CJ | PCIe DAQ | JY2116302-02 | 2022-04-01 |  | 1 | 0% | 7928 | 8958.64 | 有 | 3
PXIe-3911 | 6519.5 | Thunderbolt 3 PXIe remote control module |  |  | PXI/PXIe bus expansion | JY3911001-01 | 2022-02-19 |  | 1 | 0% | 6519.5 | 7367.035 | 无 | 9
ACL-TDB3911-02 | 885.4545 | Thunderbolt 3 USB Type-C cable ,Active 40 Gbps 2m |  |  | Controller Accessory | JY3911001-02 | 2022-02-19 |  | 1 | 0% | 885.4545 | 1000.5636 | MOQ | 9
PXIe-2315G2 | 9393.0233 | 3U 5-slot PXIe Gen2 chassis with all-hybrid peripheral slots and universal AC power supply |  |  | PXIe Chassis | JA2315001-02 | 2022-02-19 |  | 1 | 0% | 9393.0233 | 10614.1163 | 有 | 3
PXIe-2315G3 | 12621.875 | 3U 5-slot PXIe Gen3 chassis with all-hybrid peripheral slots and universal AC power supply |  |  | PXIe Chassis | JA2315002-03 | 2022-02-19 |  | 1 | 0% | 12621.875 | 14262.7188 | 有 | 3
PXIe-5211 | 7347.6923 | 8-ch, 5V , PXIe Counter/Timer Module | ACL-1016868-1 | TB-68 | PXIe DIO | JY2005211-01 | 2024-09-23 |  | 1 | 0% | 7347.6923 | 8302.8923 | 有 | 3
PCIe-5211 | 6670.7692 | 8-ch, 5V , PCIe Counter/Timer Module | ACL-1016868-1 | TB-68 | PCIe DIO | JY3005211-01 | 2024-09-23 |  | 1 | 0% | 6670.7692 | 7537.9692 | 有 | 3
PXIe-5411 | 18090.9091 | 32-ch, 50 MHz, PXIe High speed Digital I/O Module | ACL-10279-1 | DIN-68H-01 | PXIe DIO | JY2005411-01 | 2024-09-23 |  | 1 | 0% | 18090.9091 | 20442.7273 | 有 | 3
PCIe-5411 | 16424.2424 | 32-ch, 50 MHz, PCIe High speed Digital I/O Module | ACL-10279-1 | DIN-68H-01 | PCIe DIO | JY3005411-01 | 2024-09-23 |  | 1 | 0% | 16424.2424 | 18559.3939 | 有 | 3
PXIe-5315 | 58000 | 16-ch, 16-bit, 5MS/s/ch , 16 DIO, PXIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PXIe DAQ | JY2005315-01 | 2024-09-23 |  | 1 | 0% | 58000 | 65540 | 无 | 3
PCIe-5315 | 56532 | 16-ch, 16-bit, 5MS/s/ch , 16 DIO, PCIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PCIe DAQ | JY3005315-01 | 2024-09-23 |  | 1 | 0% | 56532 | 63881.16 | 无 | 3
PXIe-5312 | 47315.7895 | 16-ch, 16-bit, 2MS/s/ch , 16 DIO, PXIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PXIe DAQ | JY2005312-01 | 2024-09-23 |  | 1 | 0% | 47315.7895 | 53466.8421 | 无 | 3
PCIe-5312 | 46172.1854 | 16-ch, 16-bit, 2MS/s/ch , 16 DIO, PCIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PCIe DAQ | JY3005312-01 | 2024-09-23 |  | 1 | 0% | 46172.1854 | 52174.5695 | 无 | 3
PXIe-2722G3 | 63980.7692 | 3U 18-slot All-hybrid PXI Express Gen3 Chassis with High-Power Power Supply , 24 GB/s system bandwidth |  |  | PXIe Chassis | JY2722010-01 | 2022-02-19 |  | 1 | 0% | 63980.7692 | 72298.2692 | 有 | 9
PXIe-2722G2 | 43379.4118 | 3U 18-slot All-hybrid PXI Express Gen2 Chassis , 8 GB/s system bandwidth |  |  | PXIe Chassis | JY2722020-01 | 2022-02-19 |  | 1 | 0% | 43379.4118 | 49018.7353 | 有 | 9
PXIe-826-15T | 130254.5455 | 2-Slot Embedded 15TB NVMe SSD |  |  | PXIe Disk Array | JX0082615-01 | 2022-02-25 |  | 1 | 0% | 130254.5455 | 147187.6364 | 无 | 3
SeeSharpTools | 0 | C# GUI, Analysis and Report Software Library |  |  | Software | JA1001001-01 | 2022-02-19 |  | 1 | 0% | 0 | 0 | MOQ | 9
JYDM | 0 | JYTEK Resource Manager |  |  | Software | JA1001001-02 | 2022-02-19 |  | 1 | 0% | 0 | 0 | 有 | 1
PXIe-2519G2 | 21600 | 3U 9-slot All-hybrid PXI Express Gen2 Chassis , 8 GB/s system bandwidth |  |  | PXIe Chassis | JA2519001-01 | 2022-02-19 |  | 1 | 0% | 21600 | 24408 | 有 | 3
PXIe-2519G3 | 36000 | 3U 9-slot All-hybrid PXI Express Gen3 Chassis , 16 GB/s system bandwidth |  |  | PXIe Chassis | JA2519002-01 | 2022-07-08 |  | 1 | 0% | 36000 | 40680 | 有 | 3
SignalPanel | 0 | JYTEK Signal Panel |  |  | Software | JA1001001-03 | 2022-02-19 |  | 1 | 0% | 0 | 0 | 有 | 1
SC-CMV-8 | 1666 | 8-ch, 200V Common Mode Voltage amplifier terminal box |  |  | DAQ Accessories | WP1000003-08 | 2022-02-19 |  | 1 | 0% | 1666 | 1882.58 | 无 | 3
PXIe-2315-RMK | 892.08 | Rack-Mount Kit for PXIe-2315G2/G3, PXIe-2316G2/G3 |  |  | PXIe Accessory | JA2315001-04 | 2022-02-19 |  | 1 | 0% | 892.08 | 1008.0504 | 有 | 3
PXIe-62314T | 14965.4886 | 4-slot Thunderbolt 3 PXI Express remote chassis |  |  | PXIe Chassis | JA9370432-1E | 2022-02-19 |  | 1 | 0% | 14965.4886 | 16911.0021 | 有 | 9
PXIe-2312 | 13134.4538 | 5-slot Thunderbolt 3 PXI Express remote Chassis with universal AC power supply | ACL-TDB3911-02 |  | PXIe Chassis | JY2312001-01 | 2022-07-21 |  | 1 | 0% | 13134.4538 | 14841.9328 | 无 | 3
PXIe-5711 | 14576.0604 | 32-ch, 2MS/s, 16-bit PXIe Analog Output Module | ACL-1016868-1 | TB-68 | PXIe AWG | JY5711001-01 | 2024-05-29 |  | 1 | 0% | 14576.0604 | 16470.9482 | 无 | 3
PCIe-5711 | 14007.3231 | 32-ch, 2MS/s, 16-bit PCIe Analog Output Module | ACL-1016868-1 | TB-68 | PCIe AWG | JY5711001-02 | 2024-05-29 |  | 1 | 0% | 14007.3231 | 15828.2751 | 有 | 3
ACL-2026868-1 | 750 | 1 M 68pin VHDCI68M-SCSI68M shielded twisted pair cable |  |  | DAQ Accessories | JY2026868-01 | 2023-08-03 |  | 1 | 0% | 750 | 847.5 | 有 | 3
ACL-2026868-2 | 840 | 2 M 68pin VHDCI68M-SCSI68M shielded twisted pair cable |  |  | DAQ Accessories | JY2026868-02 | 2023-08-03 |  | 1 | 0% | 840 | 949.2 | 有 | 3
ACL-2000802-02 | 928.9474 | 20 cm, 8-CH shielded x4 InfiniBand to BNC cable |  |  | DAQ Accessories | JY2000802-02 | 2022-02-19 |  | 1 | 0% | 928.9474 | 1049.7105 | 有 | 3
PXIe-2519-RMK | 931.5789 | Rack-Mount kit for PXIe-2519 |  |  | PXI Accessory | JY2519019-01 | 2022-02-19 |  | 1 | 0% | 931.5789 | 1052.6842 | 无 | 3
ACL-JYSSI-2 | 128.9474 | PCIe SSI Bus Cable for 2 Devices |  |  | Digitizer Accessory | JY3011010-02 | 2022-02-19 |  | 1 | 0% | 128.9474 | 145.7105 | 有 | 9
ACL-JYSSI-3 | 155.5556 | PCIe SSI Bus Cable for 3 Devices |  |  | Digitizer Accessory | JY3011010-03 | 2022-02-19 |  | 1 | 0% | 155.5556 | 175.7778 | MOQ | 9
ACL-JYSSI-4 | 196.875 | PCIe SSI Bus Cable for 4 Devices |  |  | Digitizer Accessory | JY3011010-04 | 2022-02-19 |  | 1 | 0% | 196.875 | 222.4688 | MOQ | 9
PXIe-9516 | 59488.8889 | 16-CH 24-Bit 256kS/s High-Resolution Dynamic Signal Acquisition Module | ACL-2000802-02 |  | PXIe DSA | JY1951601-01 | 2023-02-03 |  | 1 | 0% | 59488.8889 | 67222.4444 | 无 | 9
Adapter-24V90W | 302.4 | AC to DC 24V, 90W Adapter |  |  | DDA | MW3162139-00 | 2022-02-19 |  | 1 | 0% | 302.4 | 341.712 | 有 | 3
PXIe-2722-RMK | 1416 | Rack-Mount kit for PXIe-2722 series |  |  | PXI Accessory | JY2722019-01 | 2022-03-18 |  | 1 | 0% | 1416 | 1600.08 | 有 | 3
PXIe-FillerPanel18 | 2902.5 | 18 * PXIe-3U1S + 1 * PXIe-3U3S Filler Panels |  |  | PXI Accessory | JY2722019-02 | 2022-02-19 |  | 1 | 0% | 2902.5 | 3279.825 | 有 | 9
PXIe-FillerPanel9 | 1640 | 9 * PXIe-3U1S + 1 * PXIe-3U3S Filler Panels |  |  | PXI Accessory | JY2519009-02 | 2022-02-19 |  | 1 | 0% | 1640 | 1853.2 | 有 | 9
PXIe-FillerPanel5 | 1092.5 | 5 * PXIe-3U1S Filler Panels |  |  | PXI Accessory | JY2315005-02 | 2022-02-19 |  | 1 | 0% | 1092.5 | 1234.525 | 有 | 9
PXIe-2519DC | 36241.6107 | 3U 9-slot All-hybrid PXI Express Gen3 Chassis with DC Power supply, 16 GB/s system bandwidth |  |  | PXIe Chassis | JA2519003-01 | 2024-09-06 |  | 1 | 0% | 36241.6107 | 40953.0201 | MOQ | 9
PXI-93518 | 8555 | 8-Port Serial (232/422/485) Communication PXI Module |  |  | Serial | ZK2138016-01 | 2022-04-08 |  | 1 | 0% | 8555 | 9667.15 | 无 | 3
ACL-TDB3911-50 | 9218.1818 | 50m Thunderbolt 3 Optical Cable |  |  | Controller Accessory | JO725263-01 | 2022-02-19 |  | 1 | 0% | 9218.1818 | 10416.5455 | 有 | 3
TB-68 | 1610.3448 | 68-Pin SCSI Shielded I/O Connector Block |  |  | DAQ Accessories | JY2000068-04 | 2022-02-19 |  | 1 | 0% | 1610.3448 | 1819.6897 | 无 | 3
PXIe-AirInletModule | 3208.3333 | PXIe Air inlet module for back/top air pull chassis, 1 slot (MOQ:5) |  |  | PXIe Accessory | JA9195274-01 | 2022-02-19 |  | 1 | 0% | 3208.3333 | 3625.4167 | 无 | 9
DDR4-32G | 1110 | 32GB Memory Module - DDR4 2466MHz |  |  | Controller Accessory | JY9010016-03 | 2022-09-02 |  | 1 | 0% | 1110 | 1254.3 | 无 | 1
USB-5510 | 13842.8571 | 32-ch AI (18-Bit, 2 MS/s), 4-ch AO (16-Bit, 2.86MS/s),48DIO PCIe Multifunction I/O Module | ACL-2006868-1 | TB-68 | USB DAQ | JY2105510-02 | 2023-03-24 |  | 1 | 0% | 13842.8571 | 15642.4286 | 有 | 1
USB-5511 | 12920 | 32-ch AI (18-Bit, 1.25 MS/s), 4-ch AO (16-Bit, 2.86 MS/s), 48DIO PCIe Multifunction I/O Module | ACL-2006868-1 | TB-68 | USB DAQ | JY2105511-02 | 2023-03-24 |  | 1 | 0% | 12920 | 14599.6 | 有 | 1
USB-5515 | 11409.375 | 16-ch AI (18-Bit, 2 MS/s), 2-ch AO (16-Bit, 2.86MS/s), 24DIO PCIe Multifunction I/O Module | ACL-2006868-1 | TB-68 | USB DAQ | JY2105515-02 | 2022-11-04 |  | 1 | 0% | 11409.375 | 12892.5938 | 无 | 3
USB-5516 | 9127.5 | 16-ch AI (18-Bit, 1.25 MS/s), 2-ch AO (16-Bit, 2.86 MS/s), 24DIO PCIe Multifunction I/O Module | ACL-2006868-1 | TB-68 | USB DAQ | JY2105516-02 | 2022-11-04 |  | 1 | 0% | 9127.5 | 10314.075 | 无 | 3
USB-6301 | 14885.7143 | 32-ch 24-bit USB Temperature input module for RTD | ACL-1016868-1 | TB-68 | USB DAQ | JY2116301-02 | 2024-05-29 |  | 1 | 0% | 14885.7143 | 16820.8571 | 无 | 3
USB-6302 | 12116.2791 | 32-ch 24-bit USB Temperature input module for thermocouple | ACL-2026868-1 | TB-68CJ | USB DAQ | JY2116302-03 | 2022-11-04 |  | 1 | 0% | 12116.2791 | 13691.3953 | 无 | 3
USB-5711 | 16208.64 | 32-ch, 2MS/s, 16-bit USB Analog Output Module | ACL-1016868-1 | TB-68 | USB AWG | JY5711001-03 | 2024-05-29 |  | 1 | 0% | 16208.64 | 18315.7632 | 无 | 3
PXIe-5321 | 42910 | 32-ch, 16-bit, 1MS/s/ch , 16 DIO, PXIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PXIe DAQ | JY8149280-01 | 2024-09-23 |  | 1 | 0% | 42910 | 48488.3 | 有 | 1
PXIe-5322 | 23777.7778 | 16-ch, 16-bit, 1MS/s/ch , 8 DIO, PXIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PXIe DAQ | JY6410588-01 | 2024-09-23 |  | 1 | 0% | 23777.7778 | 26868.8889 | 有 | 1
PXIe-5323 | 31807.6923 | 32-ch, 16-bit, 200kS/s/ch , 16 DIO, PXIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PXIe DAQ | JY1816101-01 | 2024-09-23 |  | 1 | 0% | 31807.6923 | 35942.6923 | 有 | 1
PXIe-5324 | 17804.6512 | 16-ch, 16-bit, 200kS/s/ch , 8 DIO, PXIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PXIe DAQ | JY8920241-01 | 2024-09-23 |  | 1 | 0% | 17804.6512 | 20119.2558 | 有 | 1
PCIe-5321 | 39876.1905 | 32-ch, 16-bit, 1MS/s/ch , 16 DIO, PCIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PCIe DAQ | JY7961198-01 | 2024-09-23 |  | 1 | 0% | 39876.1905 | 45060.0952 | 有 | 1
PCIe-5322 | 21918.1287 | 16-ch, 16-bit, 1MS/s/ch , 8 DIO, PCIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PCIe DAQ | JY2511025-01 | 2024-09-23 |  | 1 | 0% | 21918.1287 | 24767.4854 | 有 | 1
PCIe-5323 | 22394.4444 | 32-ch, 16-bit, 200kS/s/ch , 16 DIO, PCIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PCIe DAQ | JY7037274-01 | 2024-09-23 |  | 1 | 0% | 22394.4444 | 25305.7222 | 有 | 1
PCIe-5324 | 16191.3043 | 16-ch, 16-bit, 200kS/s/ch , 8 DIO, PCIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | PCIe DAQ | JY3315663-01 | 2024-09-23 |  | 1 | 0% | 16191.3043 | 18296.1739 | 有 | 1
PXIe-2313 | 8239.5833 | 2-slot Thunderbolt 3 PXI Express remote Chassis with DC power supply | ACL-TDB3911-02 |  | PXIe Chassis | JY7045586-01 | 2023-10-24 |  | 1 | 0% | 8239.5833 | 9310.7292 | 无 | 3
PXIe-9515 | 36345.4545 | 8-CH 24-Bit 256kS/s PXIe High-Resolution Dynamic Signal Acquisition Module | ACL-2000802-02 |  | PXIe DSA | JY4808423-01 | 2023-12-22 |  | 1 | 0% | 36345.4545 | 41070.3636 | 无 | 3
PCIe-9516 | 52500 | 16-CH 24-Bit 256kS/s PCIe High-Resolution Dynamic Signal Acquisition Module |  |  | PCIe DSA | JY1136217-01 | 2024-10-25 |  | 1 | 0% | 52500 | 59325 | 无 | 3
PCIe-9515 | 32450 | 8-CH 24-Bit 256kS/s PCIe High-Resolution Dynamic Signal Acquisition Module |  |  | PCIe DSA | JY9236872-01 | 2024-10-25 |  | 1 | 0% | 32450 | 36668.5 | 无 | 3
PXIe-9817 | 27185.7143 | 4-CH 16-Bit 125MS/s High-Speed PXIe Digitizer |  |  | PXIe Digitizers | JY3771682-01 | 2023-04-14 |  | 1 | 0% | 27185.7143 | 30719.8571 | 有 | 3
SC-VCO-8 | 1411.2 | 8-CH Voltage to Current output Terminal Box |  |  | DAQ Accessories | JY6911171-01 | 2023-03-24 |  | 1 | 0% | 1411.2 | 1594.656 | 有 | 3
PXIe-3161 | 61102.5641 | 3U Intel Xeon W-11865MRE PXIe Gen3 Controller with 16GB memory & 500GB SSD, Windows 10 Enterprise LTSC 64-bit |  |  | PXIe Controllers | JY8068465-01 | 2024-03-08 |  | 1 | 0% | 61102.5641 | 69045.8974 | 有 | 3
PXIe-9815 | 20736.8421 | 4-CH 14-Bit 80MS/s High-Speed PXIe Digitizer |  |  | PXIe Digitizers | JY6152323-01 | 2023-04-14 |  | 1 | 0% | 20736.8421 | 23432.6316 | 有 | 3
PCIe-9817 | 24904.7619 | 4-CH 16-Bit 125MS/s High-Speed PCIe Digitizer |  |  | PCIe Digitizers | JY2755878-01 | 2023-04-14 |  | 1 | 0% | 24904.7619 | 28142.381 | 有 | 3
PCIe-9815 | 18215.7895 | 4-CH 14-Bit 80MS/s High-Speed PCIe Digitizer |  |  | PCIe Digitizers | JY2582250-01 | 2023-04-14 |  | 1 | 0% | 18215.7895 | 20583.8421 | 有 | 3
PCIe-5111 | 4646.7532 | 32-ch AI (16-Bit,500 kS/s), 4-ch AO (16-Bit, 2.86 MS/s), 48DIO PCIe Multifunction I/O Card | ACL-2006868-1 | DIN-68 | PCIe DAQ | JY2953885-01 | 2023-12-22 |  | 1 | 0% | 4646.7532 | 5250.8312 | 有 | 3
PXIe-6312 | 11980.3922 | 16-ch 24-bit PXIe Temperature isolated input module for thermocouple | ACL-2026868-1 | TB-68CJ | PXIe DAQ | JY8475773-01 | 2024-08-19 |  | 1 | 0% | 11980.3922 | 13537.8431 | 有 | 3
PCIe-6312 | 11350 | 16-ch 24-bit PCIe Temperature isolated input module for thermocouple | ACL-2026868-1 | TB-68CJ | PCIe DAQ | JY2704408-01 | 2024-08-19 |  | 1 | 0% | 11350 | 12825.5 | 有 | 3
PCIe-5112 | 2975 | 16-ch AI (16-Bit,250 kS/s), 2-ch AO (16-Bit, 2.86 MS/s), 24DIO PCIe Multifunction I/O Card | ACL-2006868-1 | DIN-68 | PCIe DAQ | JY1922016-01 | 2024-05-31 |  | 1 | 0% | 2975 | 3361.75 | 有 | 3
ACL-VHDCI_BNC | 1409.6154 | 1M, 68pin VHDCI to 34 BNC shielded cable for 5711 |  |  | DAQ Accessories | JA5324539-00 | 2023-05-12 |  | 1 | 0% | 1409.6154 | 1592.8654 | 有 | 3
TXI-2804 | 10460 | TXI 4 slots chassis |  |  | TXI Chassis | JY9518333-01 | 2023-07-07 |  | 1 | 0% | 10460 | 11819.8 | 有 | 3
TB-55 | 500 | 68-Pin SCSI with BNC Terminal Block for JY-5500 Series |  |  | DAQ Accessories | JY5282403-01 | 2023-07-28 |  | 1 | 0% | 500 | 565 | 有 | 3
USB-6312 | 11125 | 16-ch 24-bit USB ch-to-ch isolated thermocouple input module | ACL-2026868-1 | TB-68CJ | USB DAQ | JY9335442-01 | 2023-07-28 |  | 1 | 0% | 11125 | 12571.25 | 有 | 3
PXIe-9813 | 12312.5 | 4-CH 14-Bit 20MS/s High-Speed PXIe Digitizer |  |  | PXIe Digitizers | JY5174103-01 | 2023-09-01 |  | 1 | 0% | 12312.5 | 13913.125 | 有 | 3
PCIe-9813 | 10815.625 | 4-CH 14-Bit 20MS/s High-Speed PCIe Digitizer |  |  | PCIe Digitizers | JY5104885-01 | 2023-09-01 |  | 1 | 0% | 10815.625 | 12221.6562 | 有 | 3
PXIe-9817H | 27185.7143 | 4-CH 16-Bit 125MS/s ±50V High-Voltage Range PXIe Digitizer |  |  | PXIe Digitizers | JY3996640-01 | 2023-08-03 |  | 1 | 0% | 27185.7143 | 30719.8571 | 有 | 3
DIN-68 | 169.0909 | SCSI 68-pin Terminal block |  |  | DAQ Accessories | JY1717615-01 | 2023-12-01 |  | 1 | 0% | 169.0909 | 191.0727 | 有 | 3
ACL-1016868-1 | 241.8182 | 1M 68pin VHDC-SCSI twisted pair cable |  |  | DAQ Accessories | JY7996916-01 | 2023-08-03 |  | 1 | 0% | 241.8182 | 273.2545 | 有 | 3
ACL-1016868-2 | 301.8182 | 2M 68pin VHDCI-SCSI twisted pair cable |  |  | DAQ Accessories | JY7996916-02 | 2023-08-03 |  | 1 | 0% | 301.8182 | 341.0545 | 有 | 3
PCIe-5113 | 6768.2927 | 64-ch AI (16-Bit, 1 MS/s), 4-ch AO (16-Bit, 2 MS/s), 16 DIO PCIe Multifunction I/O Card | ACL-1016868-1 | DIN-68 | PCIe DAQ | JY9785803-01 | 2024-05-29 |  | 1 | 0% | 6768.2927 | 7648.1707 | 有 | 3
PXIe-9818 | 44042.8571 | 8-CH 16-Bit 125MS/s High-Speed PXIe Digitizer |  |  | PXIe Digitizers | JY1233714-01 | 2023-09-01 |  | 1 | 0% | 44042.8571 | 49768.4286 | 有 | 3
PXIe-5113 | 7781.0811 | 64-ch AI (16-Bit, 1 MS/s), 4-ch AO (16-Bit, 2 MS/s), 16 DIO PXIe Multifunction I/O Card | ACL-1016868-1 | DIN-68 | PXIe DAQ | JY4726411-01 | 2024-05-29 |  | 1 | 0% | 7781.0811 | 8792.6216 | 有 | 3
PXIe-5113s | 13086.3636 | 16-bit AI 64-ch 1 MS/s or 8-ch 1MS/s/ch, 4-ch AO (16-Bit, 2 MS/s), 16 DIO PXIe Multifunction I/O Card | ACL-1016868-1 | DIN-68 | PXIe DAQ | JY4726411-02 | 2024-05-29 |  | 1 | 0% | 13086.3636 | 14787.5909 | 有 | 3
PCIe-5113s | 12065.2174 | 16-bit AI 64-ch 1 MS/s or 8-ch 1MS/s/ch, 4-ch AO (16-Bit, 2 MS/s), 16 DIO PCIe Multifunction I/O Card | ACL-1016868-1 | DIN-68 | PCIe DAQ | JY9785803-02 | 2024-05-29 |  | 1 | 0% | 12065.2174 | 13633.6957 | 有 | 3
PXIe-3125e | 36123.3333 | 3U Intel Core™ i5-11500HE PXIe Gen3 Controller with 16GB memory & 500GB SSD, Windows 10 Enterprise LTSC 64-bit | ACL-IEEE488-MD1-A |  | PXIe Controllers | JY1702524-01 | 2024-03-08 |  | 1 | 0% | 36123.3333 | 40819.3667 | 有 | 3
PXIe-3127e | 51435.1464 | 3U Intel Core™ i7-11850HE PXIe Gen3 Controller with 16GB memory & 500GB SSD, Windows 10 Enterprise LTSC 64-bit | ACL-IEEE488-MD1-A |  | PXIe Controllers | JY3916604-01 | 2024-03-08 |  | 1 | 0% | 51435.1464 | 58121.7155 | 有 | 3
TB-53 | 550 | 68-Pin SCSI with BNC Terminal Block for JY-5300 Series |  |  | DAQ Accessories | JY1368485-01 | 2023-12-01 |  | 1 | 0% | 550 | 621.5 | 有 | 3
ACL-1020100-1 | 542.5 | 1M 100pin SCSI twisted pair cable |  |  | DAQ Accessories | JY4910923-01 | 2023-12-01 |  | 1 | 0% | 542.5 | 613.025 | 有 | 3
ACL-1020100-2 | 620 | 2M 100pin SCSI twisted pair cable |  |  | DAQ Accessories | JY7155665-01 | 2023-12-01 |  | 1 | 0% | 620 | 700.6 | 有 | 3
DIN-100-1 | 395 | 100-Pin SCSI Terminal block |  |  | DAQ Accessories | JY7739162-01 | 2023-12-01 |  | 1 | 0% | 395 | 446.35 | 有 | 3
PXIe-7131 | 7621 | 64-Channel, 50 VDC, 32 Sink/Source Inputs, 32 Push-pull Outputs, Bank-Isolated PXIe Digital I/O Module |  |  | PXIe DIO | JY5046684-01 | 2024-05-24 |  | 1 | 0% | 7621 | 8611.73 | 有 | 3
PXIe-5325 | 29558.8235 | 8-ch AI (16-bit, 5 MS/s/ch) 8-ch AO (16-bit, 1 MS/s/ch) , 8 DIO, PXIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-68 | PXIe DAQ | JY8134536-01 | 2024-09-23 |  | 1 | 0% | 29558.8235 | 33401.4706 | 有 | 3
PXIe-5325r | 33500 | 8-ch AI (16-bit, 5 MS/s/ch) 8-ch AO (16-bit, 1 MS/s/ch) , 8 DIO, PXIe Multifunction Reconfigurable I/O Module | ACL-1016868-1 | TB-68 | PXIe DAQ | JY1939517-01 | 2024-09-23 |  | 1 | 0% | 33500 | 37855 | 有 | 3
ACL-1030200-2 | 3201.8868 | 2M, 200-pin LFH female C type to 4x50-pin DSUB cable |  |  | SW Accessories | JY8143027-01 | 2024-09-06 |  | 1 | 0% | 3201.8868 | 3618.1321 | 有 | 3
PCIe-9818 | 44042.8571 | 8-CH 16-Bit 125MS/s High-Speed PCIe Digitizer |  |  | PCIe Digitizers | JY2267045-01 | 2024-02-23 |  | 1 | 0% | 44042.8571 | 49768.4286 | 有 | 3
USB-5321 | 40449.1525 | 32-ch, 16-bit, 1MS/s/ch , 16 DIO, USB Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | USB DAQ | JY9188254-01 | 2024-09-23 |  | 1 | 0% | 40449.1525 | 45707.5424 | 有 | 3
USB-5322 | 22000 | 16-ch, 16-bit, 1MS/s/ch , 8 DIO, USB Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | USB DAQ | JY1290213-01 | 2024-09-23 |  | 1 | 0% | 22000 | 24860 | 有 | 3
USB-5323 | 23085 | 32-ch, 16-bit, 200kS/s/ch , 16 DIO, USB Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | USB DAQ | JY1743328-01 | 2024-09-23 |  | 1 | 0% | 23085 | 26086.05 | 有 | 3
USB-5324 | 16901.9608 | 16-ch, 16-bit, 200kS/s/ch , 8 DIO, USB Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-53 | USB DAQ | JY9890308-01 | 2024-09-23 |  | 1 | 0% | 16901.9608 | 19099.2157 | 有 | 3
PXIe-8902 | 12219.4444 | PXIe Digital Multimeter, 6½ digit, High Performance |  |  | PXIe DMM | JY9242513-01 | 2024-07-19 |  | 1 | 0% | 12219.4444 | 13807.9722 | 有 | 3
PXIe-2316G2 | 9813.9535 | 3U 6-slot PXIe Gen2 chassis with all-hybrid peripheral slots and universal AC power supply |  |  | PXIe Chassis | JY1554862-01 | 2024-10-25 |  | 1 | 0% | 9813.9535 | 11089.7674 | 有 | 3
PXIe-2316G3 | 13187.5 | 3U 6-slot PXIe Gen3 chassis with all-hybrid peripheral slots and universal AC power supply |  |  | PXIe Chassis | JY5504042-01 | 2024-10-25 |  | 1 | 0% | 13187.5 | 14901.875 | 有 | 3
PXIe-6311 | 12166.6667 | 16-ch 24-bit PXIe ch-to-ch isolated RTD temperature input module |  |  | PXIe DAQ | JY1029597-01 | 2024-08-19 |  | 1 | 0% | 12166.6667 | 13748.3333 | 有 | 3
PCIe-6311 | 11820 | 16-ch 24-bit PCIe ch-to-ch isolated RTD temperature input module |  |  | PCIe DAQ | JY5439902-01 | 2024-08-19 |  | 1 | 0% | 11820 | 13356.6 | 有 | 3
ACL-1008902-01 | 76.1 | JXI-Rsim2022，Hirose 4-pin to pigtail cable |  |  | DMM Accessories | JY9866644-01 | 2024-07-19 |  | 1 | 0% | 76.1 | 85.993 | 有 | 3
TB-6313 | 2042 | 8-ch terminal box with bridge and shunt calibration for PCIe/PXIe-6313 |  |  | DAQ Accessories | JY8743398-01 | 2024-09-06 |  | 1 | 0% | 2042 | 2307.46 | 有 | 3
TB-6312 | 1854 | 68-Pin SCSI Shielded I/O Connector Block with cold junction sensor and shunt resistor |  |  | DAQ Accessories | JY1227130-01 | 2024-07-04 |  | 1 | 0% | 1854 | 2095.02 | 有 | 3
PCIe-PXIe-8641/2M | 16461.6 | PCIe-PXIe remote controller bundle with 2 meter cable |  |  | PXI/PXIe bus expansion | JY2464239-01 | 2024-07-19 |  | 1 | 0% | 16461.6 | 18601.608 | 有 | 3
PCIe-8641 | 6733.5 | PCIe controller for PXIe expansion, PCIe Gen2x8 | ACL-PCIEX8-2 |  | PXI/PXIe bus expansion | JY4099532-01 | 2024-07-19 |  | 1 | 0% | 6733.5 | 7608.855 | 有 | 3
PXIe-8641 | 12128.7936 | PXIe remote controller for PXIe expansion, PCIe Gen2x8 | ACL-PCIEX8-2 |  | PXI/PXIe bus expansion | JY1618370-01 | 2024-07-19 |  | 1 | 0% | 12128.7936 | 13705.5368 | 有 | 3
PCIe-PXIe-8641/5M | 18316.5385 | PCIe-PXIe remote controller bundle with 5 meter cable |  |  | PXI/PXIe bus expansion | JY2649563-01 | 2024-07-19 |  | 1 | 0% | 18316.5385 | 20697.6885 | 有 | 3
DDA-6312 | 12346.1538 | Distributed Data Acquisition Platform with built-in 16-ch 24-bit ch-to-ch isolated thermocouple input module |  |  | DDA | JY8178692-01 | 2024-08-19 |  | 1 | 0% | 12346.1538 | 13951.1538 | 有 | 3
PXIe-7811 | 12604.95 | 66-CH, 100 Vdc / 1 A / 30 W, SPDT PXIe Relay Module | ACL-1030200-2 | DIN-50-01 | PXIe Switch | JY1943462-01 | 2024-09-06 |  | 1 | 0% | 12604.95 | 14243.5935 | 有 | 3
PXIe-3117a | 44605.2632 | 3U Intel® Core™ i7-9850HE PXIe Gen3 Controller with 16GB memory & 500GB NVMe SSD, Windows 7 Ultimate 64-bit |  |  | PXIe Controllers | JY4214966-01 | 2024-09-13 |  | 1 | 0% | 44605.2632 | 50403.9474 | 有 | 3
PXIe-3115a | 33090.9091 | 3U Intel® Core™ i5-8400H PXIe Gen3 Controller with 16GB memory & 500GB NVMe SSD, Windows 7 Ultimate 64-bit |  |  | PXIe Controllers | JY3231932-01 | 2024-09-13 |  | 1 | 0% | 33090.9091 | 37392.7273 | 有 | 3
PCIe-5325 | 27874.2857 | 8-ch AI (16-bit, 5 MS/s/ch) 8-ch AO (16-bit, 1 MS/s/ch) , 8 DIO, PCIe Simultaneous sampling Multifunction I/O Module | ACL-1016868-1 | TB-68 | PCIe DAQ | JY8230916-01 | 2024-09-23 |  | 1 | 0% | 27874.2857 | 31497.9429 | 有 | 3
PXIe-3125a | 35261.4679 | 3U Intel Core™ i5-11500HE PXIe Gen3 Controller with 16GB memory & 500GB NVMe SSD, Windows 10 Enterprise LTSC 64-bit |  |  | PXIe Controllers | JY6185939-01 | 2024-08-29 |  | 1 | 0% | 35261.4679 | 39845.4587 | 有 | 3
PXIe-3127a | 50022.9885 | 3U Intel Core™ i7-11850HE PXIe Gen3 Controller with 16GB memory & 500GB NVMe SSD, Windows 10 Enterprise LTSC 64-bit |  |  | PXIe Controllers | JY5936231-01 | 2024-08-29 |  | 1 | 0% | 50022.9885 | 56525.977 | 有 | 3
PXIe-3161a | 60208.8889 | 3U Intel Xeon W-11865MRE PXIe Gen3 Controller with 16GB memory & 500GB NVMe SSD, Windows 10 Enterprise LTSC 64-bit |  |  | PXIe Controllers | JY3414090-01 | 2024-08-29 |  | 1 | 0% | 60208.8889 | 68036.0444 | 有 | 3
PCIe-9817H | 25869.7674 | 4-CH 16-Bit 125MS/s ±50V High-Voltage Range PCIe Digitizer |  |  | PCIe Digitizers | JY3486343-01 | 2024-08-29 |  | 1 | 0% | 25869.7674 | 29232.8372 | 有 | 3
DIN-50-01 | 207 | 50-pin DSUB terminal box with DIN rail |  |  | PXIe Switch | JY4689899-01 | 2024-09-06 |  | 1 | 0% | 207 | 233.91 | 有 | 3
ACL-10108-1.5M | 20.4 | 1.5 meter sheilded twisted pair cable (CAT 6) |  |  | DAQ Accessories | JY1929092-01 | 2024-09-13 |  | 1 | 0% | 20.4 | 23.052 | 有 | 3
ACL-10108-3M | 35.2 | 3 meter sheilded twisted pair cable (CAT 6) |  |  | DAQ Accessories | JY1929092-03 | 2024-09-13 |  | 1 | 0% | 35.2 | 39.776 | 有 | 3
[8 empty] | Total | 164 |  | 2735208.0391 | 3090785.0842
此报价仅供参考，最终报价及其它条款以官方报价单为准